Support for EPICS Time Stamps in asyn

Mark Rivers

September 16, 2013

Overview

There have been several requests to support EPICS time stamps in asyn port drivers and standard asyn device support.  This will be used by setting the TSE field in the EPICS records to -2.  The record support then directly uses the TIME field in the record as the timestamp.  Device support must have properly set the TIME field in the record.

Setting the timestamp when the driver processes, rather than later on when the record processes can be desirable because the timestamp then reflects more accurately the actual time that the I/O operation was performed.  It is also desirable to allow for a user-defined function to provide the timestamp, rather than being restricted to simply calling epicsTimeGetCurrent().  For example, the driver may be associated with a particular EPICS event, and the user-defined function would then call epicsTimeGetEvent() with that event ID.  This can return a site-specific time format.  For example at LCLS epicsTimeGetEvent() returns a timestamp where the low-order bits encode the pulse ID.  They want drivers to read that timestamp as soon as possible after the I/O is complete.

The process of adding support for timestamps in asyn was begun by Eric Norum in asyn R4-20.  This added a new “timestamp” field to the pasynUser structure.  Standard asyn device support was changed to copy the pasynUser->timestamp field to precord->time.  However, this was only supported for callbacks to device support, i.e. records with SCAN=I/O Intr, and not for records that called the read() function in the driver, i.e. records with SCAN!= I/O Intr.  There was also no code in pasynManager or asynPortDriver to assist drivers in adding timestamps to the pasynUser structure on read operations or callbacks, or to support user-defined timestamp sources that could work with any driver.  The changes described in this document address these issues.

asynManager changes

In order to support these requirements the following functions have been added to asynManager.

typedef void (*timeStampCallback)(void *userPvt, epicsTimeStamp *pTimeStamp);

asynStatus (*registerTimeStampSource)(asynUser *pasynUser, void *userPvt, timeStampCallback callback);

asynStatus (*unregisterTimeStampSource)(asynUser *pasynUser);

asynStatus (*updateTimeStamp)(asynUser *pasynUser);

asynStatus (*getTimeStamp)(asynUser *pasynUser, epicsTimeStamp *pTimeStamp);

asynStatus (*setTimeStamp)(asynUser *pasynUser, const epicsTimeStamp *pTimeStamp);

asynManager now has an epicsTimeStamp value that is stored for each asyn port.  When the port is created there is a default function in asynManager to update this timestamp.  This default function simply calls epicsTimeGetCurrent().

pasynManager->registerTimeStampSource() registers a user-defined function that will return an epicsTimeStamp each time that pasynManager->updateTimeStamp() is called.

pasynManager->unregisterTimeStampSource() unregisters any user-defined function and reverts to the default timestamp source in asynManager.

pasynManager->getTimeStamp() returns the internal time stamp returned by the last call to pasynManager->updateTimeStamp().

pasynManager->setTimeStamp() sets the internal timestamp to the value passed in this function.

The functions above provide the required infrastructure for asynManager to support driver timestamps, including user-defined timestamp sources.  However, asynManager does not provide a means to set the pasynUser->timestamp field in read or callback operations.  This is because asynManager is not involved in these operations; read calls are done directly from device support to the asyn port driver, and callback operations are done directly from the asyn port driver to device support.

asynShellCommands changes to load a user-defined timestamp function

Two new commands have been added to asyn/miscellaneous/asynShellCommands.c.  These commands can be called from the vxWorks or iocsh shells.

asynRegisterTimeStampSource(const char *portName, const char *functionName);

asynUnregisterTimeStampSource(const char *portName);

The “functionName” argument is the name of a user timestamp source function.  It is defined the same way one would define a function for the EPICS sub or asub records.

This is from asyn/iocBoot/ioctestErrors/st.cmd

asynRegisterTimeStampSource("PORT1", "myTimeStampSource")

This is asyn/testErrorsApp/src/myTimeStampSource.cpp

#include <epicsTime.h>

#include <registryFunction.h>

#include <epicsExport.h>

// This function demonstrates using a user-define time stamp source

// It simply returns the current time but with the nsec field set to 0, so that record timestamps

// can be checked to see that the user-defined function is indeed being called.

static void myTimeStampSource(void *userPvt, epicsTimeStamp *pTimeStamp)

{

epicsTimeGetCurrent(pTimeStamp);

pTimeStamp->nsec = 0;

}

extern "C" {

epicsRegisterFunction(myTimeStampSource);

}

This is the line from the dbd file:

function("myTimeStampSource")

asynPortDriver changes

The asynPortDriver C++ classes now provide very thin wrappers around several of the asynManager functions listed above.  The following functions have been added to asynPortDriver:

virtual asynStatus updateTimeStamp();

virtual asynStatus updateTimeStamp(epicsTimeStamp *pTimeStamp);

virtual asynStatus getTimeStamp(epicsTimeStamp *pTimeStamp);

virtual asynStatus setTimeStamp(const epicsTimeStamp *pTimeStamp);

The functions in asynPortDriver that do callbacks to device support (triggered by callParamCallbacks(), doCallbacksXXXArray(), and doCallbacksGenericPointer()) now get the timestamp using asynPortDriver::getTimeStamp() and set the pasynUser->timestamp field in the callback.

In addition, all of the base class read() functions (e.g. readInt32(), readFloat64(), readUnt32Digital, readOctet) now also get the timestamp using asynPortDriver::getTimeStamp() and set the pasynUser->timestamp field.

Note that the asynPortDriver does not implement the readXXXArray() or readGenericPointer() functions, these are only implemented in derived classes.  All derived classes should set pasynUser->timestamp and pasynUser->status in their readXXXArray() and readGenericPointer() methods.

devEpics changes

In asynR4-20 the standard asyn device support was changed to set the record timestamp (precord->time) from pasynUser->timestamp.  However, this was only supported for callbacks to device support, i.e. records with SCAN=I/O Intr, and not for records that called the read() function in the driver, i.e. records that did not use SCAN= I/O Intr.  This has now been fixed so that all input records get precord->time set from the pasynUser->timestamp from the driver, whether the records have SCAN=I/O Intr or not.

The previous release also had a bug in devAsynFloat64, so that records with DTYP=AsynFloat64 did not get the proper timestamp even with SCAN=I/O Intr.  This has been fixed.

Testing

The timestamp support must be implemented separately for each asyn interface (asynInt32, asynFloat64, asynInt8Array, etc.) in asynPortDriver.  It must also be implemented separately for dozens of device support types (asynInt32 for ai, longin, bi, etc, asynInt32Array for waveform record,etc.).  There are also code differences depending on whether the record is I/O Intr scanned or not.  For these reasons it is important to have a comprehensive test program to verify that the timestamp support in asynManager, asynPortDriver, and standard asyn device support are all working properly.

There was already a test program in asyn to verify that the record STAT and SEVR fields were being set properly for most records types with standard asyn device support, and for most asyn interfaces, with both periodically scanning and I/O Intr scanning.  This is an asyn driver that derives from asynPortDriver and is located in asyn/testErrorsApp/src/testErrors.cpp.  This driver and its example IOC (asyn/iocBoot/iocTestErrors) have been modified to also test the new timestamp support.  The driver now calls asynPortDriver::updateTimeStamp() each time new values are computed, and it sets pasynUser->timestamp in the readXXXArray() methods.

testErrorsApp/src/myTimeStampSource is a new file that contains an example of a user-defined timestamp source.  The timestamp source in that file simply calls epicsTimeGetCurrent(&timeStamp) and then sets timeStamp.nsec=0, so the time stamp is always an integer number of seconds.

There are 3 settings in the IOC startup script that can be set for testing.

- TSE in every record:

0 (use the normal record timestamp mechanism)

-2 (the record timestamp is set by device support)

- SCAN in every record

“2 second”.  Periodically scan the record

“I/O Intr” Use callbacks from driver to trigger record processing

- Time stamp source

Default timestamp source in asynPortDriver

User-defined timestamp source (timeStamp.nsec=0)

There are thus 8 tests that need to be done to verify that all combinations of the above parameters work correctly.

The record timestamps and record values were monitored with the “camonitor” program from epics base.  asyn/iocBoot/iocTestErrors/timeStampMonitor.sh contains the camonitor commands to monitor all of the PVs in the test database.

Result 1.  TSE=0, SCAN=2 second, user-defined timestamp source=No.

testErrors:AiInt32             2013-09-11 12:44:31.378018 1 12

testErrors:LonginInt32         2013-09-11 12:44:31.378024 1 12

testErrors:BiInt32             2013-09-11 12:44:31.378020 1 One

testErrors:MbbiInt32           2013-09-11 12:44:31.378028 1 Twelve STATE MAJOR

testErrors:BiInt32             2013-09-11 12:44:31.378020 1 One

testErrors:LonginUInt32D       2013-09-11 12:44:31.378026 1 0

testErrors:BiUInt32D           2013-09-11 12:44:31.378022 1 Zero

testErrors:MbbiUInt32D         2013-09-11 12:44:31.378030 1 Zero

testErrors:MbbiDUInt32D        2013-09-11 12:44:31.378032 1 0

testErrors:AiFloat64           2013-09-11 12:44:31.378013 1 1.2

testErrors:SiOctet             2013-09-11 12:44:31.378036 1 1.2

testErrors:WfInOctet           2013-09-11 12:44:31.378044 1 49

testErrors:WfInt8              2013-09-11 12:44:31.378050 1 12

testErrors:WfInt16             2013-09-11 12:44:31.378046 1 12

testErrors:WfInt32             2013-09-11 12:44:31.378048 1 12

testErrors:WfFloat32           2013-09-11 12:44:31.378041 1 1.2

testErrors:WfFloat64           2013-09-11 12:44:31.378043 1 1.2

testErrors:AiFloat64           2013-09-11 12:44:33.378144 1 1.6

testErrors:AiInt32             2013-09-11 12:44:33.378155 1 0

testErrors:BiInt32             2013-09-11 12:44:33.378158 1 Zero

testErrors:BiInt32             2013-09-11 12:44:33.378158 1 Zero

testErrors:LonginInt32         2013-09-11 12:44:33.378164 1 0

testErrors:MbbiInt32           2013-09-11 12:44:33.378169 1 Zero

testErrors:SiOctet             2013-09-11 12:44:33.378178 1 1.6

testErrors:WfFloat32           2013-09-11 12:44:33.378183 1 1.6

testErrors:WfFloat64           2013-09-11 12:44:33.378186 1 1.6

testErrors:WfInOctet           2013-09-11 12:44:33.378188 1 49

testErrors:WfInt16             2013-09-11 12:44:33.378191 1 0

testErrors:WfInt32             2013-09-11 12:44:33.378193 1 0

testErrors:WfInt8              2013-09-11 12:44:33.378195 1 0

testErrors:AiFloat64           2013-09-11 12:44:35.378241 1 2

This test shows the expected normal behavior.  Each record is processing every 2 seconds.  The timestamps for each record in the group are slightly different because the records are processing sequentially in the 2 second scan task, and the timestamp is generated when the record processes.

Result 2.  TSE=0, SCAN=2 second, user-defined timestamp source=Yes.

testErrors:AiInt32             2013-09-11 12:52:02.623938 1 8

testErrors:LonginInt32         2013-09-11 12:52:02.623944 1 8

testErrors:BiInt32             2013-09-11 12:52:02.623940 1 One

testErrors:MbbiInt32           2013-09-11 12:52:02.623948 1 Eight STATE MINOR

testErrors:BiInt32             2013-09-11 12:52:02.623940 1 One

testErrors:LonginUInt32D       2013-09-11 12:52:02.623946 1 0

testErrors:BiUInt32D           2013-09-11 12:52:02.623942 1 Zero

testErrors:MbbiUInt32D         2013-09-11 12:52:02.623950 1 Zero

testErrors:MbbiDUInt32D        2013-09-11 12:52:02.623952 1 0

testErrors:AiFloat64           2013-09-11 12:52:02.623934 1 0.8

testErrors:SiOctet             2013-09-11 12:52:02.623956 1 0.8

testErrors:WfInOctet           2013-09-11 12:52:02.623964 1 48

testErrors:WfInt8              2013-09-11 12:52:02.623970 1 8

testErrors:WfInt16             2013-09-11 12:52:02.623966 1 8

testErrors:WfInt32             2013-09-11 12:52:02.623968 1 8

testErrors:WfFloat32           2013-09-11 12:52:02.623960 1 0.8

testErrors:WfFloat64           2013-09-11 12:52:02.623962 1 0.8

testErrors:AiFloat64           2013-09-11 12:52:04.624023 1 1.2

testErrors:AiInt32             2013-09-11 12:52:04.624035 1 12

testErrors:LonginInt32         2013-09-11 12:52:04.624044 1 12

testErrors:MbbiInt32           2013-09-11 12:52:04.624048 1 Twelve STATE MAJOR

testErrors:SiOctet             2013-09-11 12:52:04.624058 1 1.2

testErrors:WfFloat32           2013-09-11 12:52:04.624066 1 1.2

testErrors:WfFloat64           2013-09-11 12:52:04.624071 1 1.2

testErrors:WfInOctet           2013-09-11 12:52:04.624073 1 49

testErrors:WfInt16             2013-09-11 12:52:04.624075 1 12

testErrors:WfInt32             2013-09-11 12:52:04.624079 1 12

testErrors:WfInt8              2013-09-11 12:52:04.624083 1 12

testErrors:AiFloat64           2013-09-11 12:52:06.624110 1 1.6

testErrors:AiInt32             2013-09-11 12:52:06.624122 1 0

As expected this test shows the same results as test 1, because setting a user-defined timestamp source should have no effect when TSE=0.

Result 3.  TSE=0, SCAN=I/O Intr, user-defined timestamp source=No.

testErrors:AiInt32             2013-09-11 12:57:55.453886 1 6

testErrors:LonginInt32         2013-09-11 12:57:55.453891 1 6

testErrors:BiInt32             2013-09-11 12:57:55.453890 1 One

testErrors:MbbiInt32           2013-09-11 12:57:55.453892 1 Six STATE MINOR

testErrors:BiInt32             2013-09-11 12:57:55.453890 1 One

testErrors:LonginUInt32D       2013-09-11 12:57:53.053579 1 0

testErrors:BiUInt32D           2013-09-11 12:57:53.053578 1 Zero

testErrors:MbbiUInt32D         2013-09-11 12:57:53.053581 1 Zero

testErrors:MbbiDUInt32D        2013-09-11 12:57:53.053584 1 0

testErrors:AiFloat64           2013-09-11 12:57:55.453894 1 0.6

testErrors:SiOctet             2013-09-11 12:57:55.453895 1 0.6

testErrors:WfInOctet           2013-09-11 12:57:55.453897 1 48

testErrors:WfInt8              2013-09-11 12:57:55.453899 1 6

testErrors:WfInt16             2013-09-11 12:57:55.453900 1 6

testErrors:WfInt32             2013-09-11 12:57:55.453901 1 6

testErrors:WfFloat32           2013-09-11 12:57:55.453902 1 0.6

testErrors:WfFloat64           2013-09-11 12:57:55.453903 1 0.6

testErrors:AiInt32             2013-09-11 12:57:55.954073 1 7

testErrors:LonginInt32         2013-09-11 12:57:55.954086 1 7

testErrors:MbbiInt32           2013-09-11 12:57:55.954088 1 Seven STATE MINOR

testErrors:AiFloat64           2013-09-11 12:57:55.954090 1 0.7

testErrors:SiOctet             2013-09-11 12:57:55.954092 1 0.7

testErrors:WfInOctet           2013-09-11 12:57:55.954095 1 48

testErrors:WfInt8              2013-09-11 12:57:55.954098 1 7

testErrors:WfInt16             2013-09-11 12:57:55.954099 1 7

testErrors:WfInt32             2013-09-11 12:57:55.954101 1 7

testErrors:WfFloat32           2013-09-11 12:57:55.954102 1 0.7

testErrors:WfFloat64           2013-09-11 12:57:55.954103 1 0.7

testErrors:AiInt32             2013-09-11 12:57:56.454213 1 8

This test shows the expected normal behavior.  Each record is processing every 0.5 seconds because that is the delay in the driver thread doing the callbacks.  The timestamps for each record in the group are slightly different because the records are processing sequentially and the timestamp is generated when the record processes.

Result 4.  TSE=0, SCAN=I/O Intr, user-defined timestamp source=Yes.

testErrors:AiInt32             2013-09-11 13:03:15.191708 1 0

testErrors:BiInt32             2013-09-11 13:03:15.191718 1 Zero

testErrors:BiInt32             2013-09-11 13:03:15.191718 1 Zero

testErrors:LonginInt32         2013-09-11 13:03:15.191721 1 0

testErrors:MbbiInt32           2013-09-11 13:03:15.191723 1 Zero

testErrors:AiFloat64           2013-09-11 13:03:15.191725 1 1.6

testErrors:SiOctet             2013-09-11 13:03:15.191727 1 1.6

testErrors:WfInOctet           2013-09-11 13:03:15.191729 1 49

testErrors:WfInt8              2013-09-11 13:03:15.191732 1 0

testErrors:WfInt16             2013-09-11 13:03:15.191733 1 0

testErrors:WfInt32             2013-09-11 13:03:15.191734 1 0

testErrors:WfFloat32           2013-09-11 13:03:15.191736 1 1.6

testErrors:WfFloat64           2013-09-11 13:03:15.191737 1 1.6

testErrors:AiInt32             2013-09-11 13:03:15.691816 1 1

testErrors:BiInt32             2013-09-11 13:03:15.691825 1 One

testErrors:BiInt32             2013-09-11 13:03:15.691825 1 One

testErrors:LonginInt32         2013-09-11 13:03:15.691828 1 1

testErrors:MbbiInt32           2013-09-11 13:03:15.691830 1 One

testErrors:AiFloat64           2013-09-11 13:03:15.691832 1 1.7

testErrors:SiOctet             2013-09-11 13:03:15.691833 1 1.7

testErrors:WfInOctet           2013-09-11 13:03:15.691836 1 49

testErrors:WfInt8              2013-09-11 13:03:15.691839 1 1

testErrors:WfInt16             2013-09-11 13:03:15.691840 1 1

testErrors:WfInt32             2013-09-11 13:03:15.691841 1 1

testErrors:WfFloat32           2013-09-11 13:03:15.691842 1 1.7

testErrors:WfFloat64           2013-09-11 13:03:15.691843 1 1.7

testErrors:AiInt32             2013-09-11 13:03:16.192034 1 2

As expected this test shows the same results as test 3, because setting a user-defined timestamp source should have no effect when TSE=0.

Result 5.  TSE=-2, SCAN=2 second, user-defined timestamp source=No.

testErrors:AiInt32             2013-09-11 13:10:02.410217 1 12

testErrors:LonginInt32         2013-09-11 13:10:02.410217 1 12

testErrors:BiInt32             2013-09-11 13:10:02.410217 1 One

testErrors:MbbiInt32           2013-09-11 13:10:02.410217 1 Twelve STATE MAJOR

testErrors:BiInt32             2013-09-11 13:10:02.410217 1 One

testErrors:LonginUInt32D       2013-09-11 13:10:02.410217 1 0

testErrors:BiUInt32D           2013-09-11 13:10:02.410217 1 Zero

testErrors:MbbiUInt32D         2013-09-11 13:10:02.410217 1 Zero

testErrors:MbbiDUInt32D        2013-09-11 13:10:02.410217 1 0

testErrors:AiFloat64           2013-09-11 13:10:02.410217 1 1.2

testErrors:SiOctet             2013-09-11 13:10:02.410217 1 1.2

testErrors:WfInOctet           2013-09-11 13:10:02.410217 1 49

testErrors:WfInt8              2013-09-11 13:10:02.410217 1 12

testErrors:WfInt16             2013-09-11 13:10:02.410217 1 12

testErrors:WfInt32             2013-09-11 13:10:02.410217 1 12

testErrors:WfFloat32           2013-09-11 13:10:02.410217 1 1.2

testErrors:WfFloat64           2013-09-11 13:10:02.410217 1 1.2

testErrors:AiFloat64           2013-09-11 13:10:04.410734 1 1.6

testErrors:AiInt32             2013-09-11 13:10:04.410734 1 0

testErrors:BiInt32             2013-09-11 13:10:04.410734 1 Zero

testErrors:BiInt32             2013-09-11 13:10:04.410734 1 Zero

testErrors:LonginInt32         2013-09-11 13:10:04.410734 1 0

testErrors:MbbiInt32           2013-09-11 13:10:04.410734 1 Zero

testErrors:SiOctet             2013-09-11 13:10:04.410734 1 1.6

testErrors:WfFloat32           2013-09-11 13:10:04.410734 1 1.6

testErrors:WfFloat64           2013-09-11 13:10:04.410734 1 1.6

testErrors:WfInOctet           2013-09-11 13:10:04.410734 1 49

testErrors:WfInt16             2013-09-11 13:10:04.410734 1 0

testErrors:WfInt32             2013-09-11 13:10:04.410734 1 0

testErrors:WfInt8              2013-09-11 13:10:04.410734 1 0

testErrors:AiFloat64           2013-09-11 13:10:06.411245 1 2

testErrors:AiInt32             2013-09-11 13:10:06.411245 1 4

This test shows the expected result.  The timestamps within a single 2-second group are identical, which is different from test 1.  This is because the timestamps are coming from the driver, reflecting the most recent call by the driver to updateTimeStamp().  The timestamps have non-zero nsec field because the default timestamp source in pasynManager is being used.

Result 6.  TSE=-2, SCAN=2 second, user-defined timestamp source=Yes.

testErrors:AiInt32             2013-09-11 13:15:31.000000 1 8

testErrors:LonginInt32         2013-09-11 13:15:31.000000 1 8

testErrors:BiInt32             2013-09-11 13:15:31.000000 1 One

testErrors:MbbiInt32           2013-09-11 13:15:31.000000 1 Eight STATE MINOR

testErrors:BiInt32             2013-09-11 13:15:31.000000 1 One

testErrors:LonginUInt32D       2013-09-11 13:15:31.000000 1 0

testErrors:BiUInt32D           2013-09-11 13:15:31.000000 1 Zero

testErrors:MbbiUInt32D         2013-09-11 13:15:31.000000 1 Zero

testErrors:MbbiDUInt32D        2013-09-11 13:15:31.000000 1 0

testErrors:AiFloat64           2013-09-11 13:15:31.000000 1 0.8

testErrors:SiOctet             2013-09-11 13:15:31.000000 1 0.8

testErrors:WfInOctet           2013-09-11 13:15:31.000000 1 48

testErrors:WfInt8              2013-09-11 13:15:31.000000 1 8

testErrors:WfInt16             2013-09-11 13:15:31.000000 1 8

testErrors:WfInt32             2013-09-11 13:15:31.000000 1 8

testErrors:WfFloat32           2013-09-11 13:15:31.000000 1 0.8

testErrors:WfFloat64           2013-09-11 13:15:31.000000 1 0.8

testErrors:AiFloat64           2013-09-11 13:15:33.000000 1 1.2

testErrors:AiInt32             2013-09-11 13:15:33.000000 1 12

testErrors:LonginInt32         2013-09-11 13:15:33.000000 1 12

testErrors:MbbiInt32           2013-09-11 13:15:33.000000 1 Twelve STATE MAJOR

testErrors:SiOctet             2013-09-11 13:15:33.000000 1 1.2

testErrors:WfFloat32           2013-09-11 13:15:33.000000 1 1.2

testErrors:WfFloat64           2013-09-11 13:15:33.000000 1 1.2

testErrors:WfInOctet           2013-09-11 13:15:33.000000 1 49

testErrors:WfInt16             2013-09-11 13:15:33.000000 1 12

testErrors:WfInt32             2013-09-11 13:15:33.000000 1 12

testErrors:WfInt8              2013-09-11 13:15:33.000000 1 12

testErrors:AiFloat64           2013-09-11 13:15:35.000000 1 1.6

testErrors:AiInt32             2013-09-11 13:15:35.000000 1 0

This test shows the expected result.  The timestamps within a single 2-second group are identical, which is different from test 2.  This is because the timestamps are coming from the driver, reflecting the most recent call by the driver to updateTimeStamp().  The timestamps have no fractional seconds because the user-defined timestamp source is being used, which sets timeStamp.nsec=0.

Result 7.  TSE=-2, SCAN=I/O Intr, user-defined timestamp source=No.

testErrors:AiInt32             2013-09-11 13:18:40.790244 1 6

testErrors:LonginInt32         2013-09-11 13:18:40.790244 1 6

testErrors:MbbiInt32           2013-09-11 13:18:40.790244 1 Six STATE MINOR

testErrors:AiFloat64           2013-09-11 13:18:40.790244 1 0.6

testErrors:SiOctet             2013-09-11 13:18:40.790244 1 0.6

testErrors:WfInOctet           2013-09-11 13:18:40.790244 1 48

testErrors:WfInt8              2013-09-11 13:18:40.790244 1 6

testErrors:WfInt16             2013-09-11 13:18:40.790244 1 6

testErrors:WfInt32             2013-09-11 13:18:40.790244 1 6

testErrors:WfFloat32           2013-09-11 13:18:40.790244 1 0.6

testErrors:WfFloat64           2013-09-11 13:18:40.790244 1 0.6

testErrors:AiInt32             2013-09-11 13:18:41.290368 1 7

testErrors:LonginInt32         2013-09-11 13:18:41.290368 1 7

testErrors:MbbiInt32           2013-09-11 13:18:41.290368 1 Seven STATE MINOR

testErrors:AiFloat64           2013-09-11 13:18:41.290368 1 0.7

testErrors:SiOctet             2013-09-11 13:18:41.290368 1 0.7

testErrors:WfInOctet           2013-09-11 13:18:41.290368 1 48

testErrors:WfInt8              2013-09-11 13:18:41.290368 1 7

testErrors:WfInt16             2013-09-11 13:18:41.290368 1 7

testErrors:WfInt32             2013-09-11 13:18:41.290368 1 7

testErrors:WfFloat32           2013-09-11 13:18:41.290368 1 0.7

testErrors:WfFloat64           2013-09-11 13:18:41.290368 1 0.7

testErrors:AiInt32             2013-09-11 13:18:41.790539 1 8

This test shows the expected result.  The timestamps within a single 0.5 second group are identical, which is different from test 3.  This is because the timestamps are coming from the driver, reflecting the most recent call by the driver to updateTimeStamp().  The timestamps have non-zero nsec field because the default timestamp source in pasynManager is being used.

Result 8.  TSE=-2, SCAN=I/O Intr, user-defined timestamp source=Yes.

testErrors:AiInt32             2013-09-11 13:22:55.000000 1 0

testErrors:BiInt32             2013-09-11 13:22:55.000000 1 Zero

testErrors:BiInt32             2013-09-11 13:22:55.000000 1 Zero

testErrors:LonginInt32         2013-09-11 13:22:55.000000 1 0

testErrors:MbbiInt32           2013-09-11 13:22:55.000000 1 Zero

testErrors:AiFloat64           2013-09-11 13:22:55.000000 1 1.6

testErrors:SiOctet             2013-09-11 13:22:55.000000 1 1.6

testErrors:WfInOctet           2013-09-11 13:22:55.000000 1 49

testErrors:WfInt8              2013-09-11 13:22:55.000000 1 0

testErrors:WfInt16             2013-09-11 13:22:55.000000 1 0

testErrors:WfInt32             2013-09-11 13:22:55.000000 1 0

testErrors:WfFloat32           2013-09-11 13:22:55.000000 1 1.6

testErrors:WfFloat64           2013-09-11 13:22:55.000000 1 1.6

testErrors:AiInt32             2013-09-11 13:22:55.000000 1 1

testErrors:BiInt32             2013-09-11 13:22:55.000000 1 One

testErrors:BiInt32             2013-09-11 13:22:55.000000 1 One

testErrors:LonginInt32         2013-09-11 13:22:55.000000 1 1

testErrors:MbbiInt32           2013-09-11 13:22:55.000000 1 One

testErrors:AiFloat64           2013-09-11 13:22:55.000000 1 1.7

testErrors:SiOctet             2013-09-11 13:22:55.000000 1 1.7

testErrors:WfInOctet           2013-09-11 13:22:55.000000 1 49

testErrors:WfInt8              2013-09-11 13:22:55.000000 1 1

testErrors:WfInt16             2013-09-11 13:22:55.000000 1 1

testErrors:WfInt32             2013-09-11 13:22:55.000000 1 1

testErrors:WfFloat32           2013-09-11 13:22:55.000000 1 1.7

testErrors:WfFloat64           2013-09-11 13:22:55.000000 1 1.7

testErrors:AiInt32             2013-09-11 13:22:56.000000 1 2

t

This test shows the expected result.  The timestamps within a single 0.5 second group are identical, which is different from test 4.  This is because the timestamps are coming from the driver, reflecting the most recent call by the driver to updateTimeStamp().  The timestamps have no fractional seconds because the user-defined timestamp source is being used, which sets timeStamp.nsec=0.  Because the records are processing at 0.5 seconds two sets of record processing have the same timestamp, since it has 1 second resolution.

Result 9.  TSE=-2, SCAN=I/O Intr, user-defined timestamp source=Yes.

testErrors:WfInt32             2013-09-11 13:33:31.000000 1 13

testErrors:WfFloat32           2013-09-11 13:33:31.000000 1 4.5

testErrors:WfFloat64           2013-09-11 13:33:31.000000 1 4.5

testErrors:AiInt32             2013-09-11 13:33:31.796358 1 14

testErrors:LonginInt32         2013-09-11 13:33:31.796358 1 14

testErrors:MbbiInt32           2013-09-11 13:33:31.796358 1 Fourteen STATE INVALID

testErrors:AiFloat64           2013-09-11 13:33:31.796358 1 4.6

testErrors:SiOctet             2013-09-11 13:33:31.796358 1 4.6

testErrors:WfInOctet           2013-09-11 13:33:31.796358 1 52

testErrors:WfInt8              2013-09-11 13:33:31.796358 1 14

testErrors:WfInt16             2013-09-11 13:33:31.796358 1 14

testErrors:WfInt32             2013-09-11 13:33:31.796358 1 14

testErrors:WfFloat32           2013-09-11 13:33:31.796358 1 4.6

testErrors:WfFloat64           2013-09-11 13:33:31.796358 1 4.6

testErrors:AiInt32             2013-09-11 13:33:32.296489 1 15

testErrors:LonginInt32         2013-09-11 13:33:32.296489 1 15

testErrors:MbbiInt32           2013-09-11 13:33:32.296489 1 Fifteen STATE INVALID

testErrors:AiFloat64           2013-09-11 13:33:32.296489 1 4.7

testErrors:SiOctet             2013-09-11 13:33:32.296489 1 4.7

testErrors:WfInOctet           2013-09-11 13:33:32.296489 1 52

testErrors:WfInt8              2013-09-11 13:33:32.296489 1 15

testErrors:WfInt16             2013-09-11 13:33:32.296489 1 15

testErrors:WfInt32             2013-09-11 13:33:32.296489 1 15

testErrors:WfFloat32           2013-09-11 13:33:32.296489 1 4.7

testErrors:WfFloat64           2013-09-11 13:33:32.296489 1 4.7

testErrors:AiInt32             2013-09-11 13:33:32.000000 1 0

testErrors:BiInt32             2013-09-11 13:33:32.000000 1 Zero

testErrors:BiInt32             2013-09-11 13:33:32.000000 1 Zero

The above output shows the result when the following commands are typed at the IOC shell.

unregisterMyTimeStampSource(PORT1)

registerMyTimeStampSource(PORT1)

unregisterMyTimeStampSource(PORT1)

The timestamps switch between being the user-defined timestamp (no fractional seconds) and the default timestamp source (with fractional seconds).  This shows that timestamp source can be changed dynamically at run-time.